## Process
IMPORTANT - PLEASE READ
Commissioning Profiles Test Book
| Version Number | Date | Description of change
Submit a separate tab for each trading day, deleting additional Minor / Significant tabs as appropriate.
If 30 minutes resolution is not sufficient to show changes in output, 10 minute or 5 minute resolution may be required.
Minor Test
1. Testing of < 6 hours in duration or < than 3 times the Active Energy which would be produced by the Test Proposer’s DSU during 1 hour of operation at the DSU’s Registered Capacity; and < 500 MWh may be submitted as a Minor Test, subject to EirGrid approval.
2. This form must be submitted to neartime@eirgrid.com and balancingmarketoperations@eirgrid.com at least 6 hours in advance.
Significant Test
1. Testing of ≥ 6 hours in duration or ≥ 3 times the Active Energy which would be produced during 1 hour of operations at the DSU's Registered Capacity or ≥ 500 MWh must be submitted as a Significant Test.
2. This form must be submitted to neartime@eirgrid.com at least 5 working days in advance and updates thereafter.
3. A Unit Under Test Flag must be submitted via the Market Particpant Interface.
Commissioning unit
1. Testing of a commissioning unit must be submitted as a Significant Test.
2. This form must be submitted to neartime@eirgrid.com and generator_testing@eirgrid.com at least 5 working days in advance and updates thereafter.
3. A Unit Under Test Flag must be submitted via the Market Partipant Interface.
Information on putting a unit under test in the market can be found in the following FAQ:
LINK word document

## Minor Day Profile (Test Date)
DSU Minor Test Consent Form
Time | MW Response | Available for MW Dispatch | Comment | UNIT NAME | Please enter the unit name and EMS name
10:00 | As Required | Y |  | REGISTERED CAPACITY
10:10 | As Required | Y |  | TEST DATE
10:20 | As Required | Y |  | TEST DAY | (Automatic Value)
10:30 | As Required | Y |  | LOAD REJECTION TEST (YES / NO)
10:40 | As Required | Y |  | RISK OF TRIP DURING TEST
10:50 | 0 | N | IDS NAME HERE | PURPOSE OF TEST
11:00 | 2 | N |  | PLEASE WRITE THE PURPOSE OF THE TEST HERE
11:10 | 5 | N
11:20 | 2 | N
11:30 | 0 | N |  | DESCRIPTION OF TEST
11:40 | 2 | N |  | PLEASE WRITE THE DESCRIPTION OF THE TEST HERE
11:50 | 5 | N
12:00 | 5 | N
12:10 | 5 | N
12:20 | 5 | N |  | CONTACT NAME | MOBILE | ROLE
12:30 | 5 | N
12:40 | 5 | N
12:50 | 5 | N
13:00 | 5 | N
13:10 | 5 | N
13:20 | 5 | N
13:30 | 5 | N
13:40 | 5 | N
13:50 | 5 | N
14:00 | 2 | N
14:10 | 0 | N
14:20 | As Required | Y
14:30 | As Required | Y
14:40 | As Required | Y
14:50 | As Required | Y
15:00 | As Required | Y
15:10 | As Required | Y
15:20 | As Required | Y
15:30 | As Required | Y
15:40 | As Required | Y
15:50 | As Required | Y
16:00 | As Required | Y
16:10 | As Required | Y
16:20 | As Required | Y
16:30 | As Required | Y
16:40 | As Required | Y
16:50 | As Required | Y
17:00 | As Required | Y
17:10 | As Required | Y
17:20 | As Required | Y
17:30 | As Required | Y
17:40 | As Required | Y
17:50 | As Required | Y
Profile Template located at http://www.eirgrid.com/media/DSUTestProfileTemplate.xlsx
Send to generator_testing@eirgrid.com for assessment 10 business days in advance of test.
Send to control@eirgrid.com with generator_testing@eirgrid.com on copy for approval 5 days in advance of test.
Test profiles shall be provided for DSU in aggregate with separate profiles for the individual demand sites.
IDS name has to be written at the time the test is scheduled to start.

## Minor Profile (Test Date2)
DSU Minor Test Consent Form
Time | MW | Available for MW Dispatch | Comment | UNIT NAME | Please enter the unit name and EMS name
10:00 | As Required | Y |  | REGISTERED CAPACITY
10:10 | As Required | Y |  | TEST DATE
10:20 | As Required | Y |  | TEST DAY | (Automatic Value)
10:30 | As Required | Y |  | LOAD REJECTION TEST (YES / NO)
10:40 | As Required | Y |  | FREQUENCY RESPONSE MODE (ON / OFF)
10:50 | 0 | Y | IDS NAME HERE | RISK OF TRIP DURING TEST
11:00 | 2 | Y |  | PURPOSE OF TEST
11:10 | 5 | Y |  | PLEASE WRITE THE PURPOSE OF THE TEST HERE
11:20 | 2 | Y
11:30 | 0 | Y
11:40 | 2 | Y |  | DESCRIPTION OF TEST
11:50 | 5 | Y |  | PLEASE WRITE THE DESCRIPTION OF THE TEST HERE
12:00 | 5 | N
12:10 | 5 | N
12:20 | 5 | N
12:30 | 5 | N |  | CONTACT NAME | MOBILE | ROLE
12:40 | 5 | N
12:50 | 5 | N
13:00 | 5 | N
13:10 | 5 | N
13:20 | 5 | N
13:30 | 5 | N
13:40 | 5 | N
13:50 | 5 | N
14:00 | 2 | N
14:10 | 0 | Y
14:20 | As Required | Y
14:30 | As Required | Y
14:40 | As Required | Y
14:50 | As Required | Y
15:00 | As Required | Y
15:10 | As Required | Y
15:20 | As Required | Y
15:30 | As Required | Y
15:40 | As Required | Y
15:50 | As Required | Y
16:00 | As Required | Y
16:10 | As Required | Y
16:20 | As Required | Y
16:30 | As Required | Y
16:40 | As Required | Y
16:50 | As Required | Y
17:00 | As Required | Y
17:10 | As Required | Y
17:20 | As Required | Y
17:30 | As Required | Y
17:40 | As Required | Y
17:50 | As Required | Y
Profile Template located at http://www.eirgrid.com/media/DSUTestProfileTemplate.xlsx
Send to generator_testing@eirgrid.com for assessment 10 business days in advance of test.
Send to control@eirgrid.com with generator_testing@eirgrid.com on copy for approval 5 days in advance of test.
Test profiles shall be provided for DSU in aggregate with separate profiles for the individual demand sites.
IDS name has to be written at the time the test is scheduled to start.
Note on F6: PLEASE ENTER THE UNIT NAME AND EMS NAME

## Significant Profile (Test Date)
DSU Significant Test Consent Form
Time | MW | Comment | UNIT NAME | Please enter the unit name and EMS name
10:00 | As Required |  | REGISTERED CAPACITY
10:10 | As Required |  | TEST DATE
10:20 | As Required |  | TEST DAY | (Automatic Value)
10:30 | As Required |  | LOAD REJECTION TEST (YES / NO)
10:40 | As Required |  | FREQUENCY RESPONSE MODE (ON / OFF)
10:50 | 0 | IDS NAME HERE | RISK OF TRIP DURING TEST
11:00 | 2 |  | PURPOSE OF TEST
11:10 | 5 |  | PLEASE WRITE THE PURPOSE OF THE TEST HERE
11:20 | 2
11:30 | 0
11:40 | 2 |  | DESCRIPTION OF TEST
11:50 | 5 |  | PLEASE WRITE THE DESCRIPTION OF THE TEST HERE
12:00 | 5
12:10 | 5
12:20 | 5
12:30 | 5 |  | CONTACT NAME | MOBILE | ROLE
12:40 | 5
12:50 | 5
13:00 | 5
13:10 | 5
13:20 | 5
13:30 | 5
13:40 | 5
13:50 | 5
14:00 | 2
14:10 | 0
14:20 | As Required
14:30 | As Required
14:40 | As Required
14:50 | As Required
15:00 | As Required
15:10 | As Required
15:20 | As Required
15:30 | As Required
15:40 | As Required
15:50 | As Required
16:00 | As Required
16:10 | As Required
16:20 | As Required
16:30 | As Required
16:40 | As Required
16:50 | As Required
17:00 | As Required
17:10 | As Required
17:20 | As Required
17:30 | As Required
17:40 | As Required
17:50 | As Required
Profile Template located at http://www.eirgrid.com/media/DSUTestProfileTemplate.xlsx
Send to generator_testing@eirgrid.com for assessment 10 business days in advance of test.
Send to control@eirgrid.com with generator_testing@eirgrid.com on copy for approval 5 days in advance of test.
Test profiles shall be provided for DSU in aggregate with separate profiles for the individual demand sites.
IDS name has to be written at the time the test is scheduled to start.
Note on E6: PLEASE ENTER THE UNIT NAME AND EMS NAME

## Significant Profile(Test Date2)
DSU Full Day Test Consent Form
Time | MW | Comment | UNIT NAME | Please enter the unit name and EMS name
10:00 | As Required |  | REGISTERED CAPACITY
10:10 | As Required |  | TEST DATE
10:20 | As Required |  | TEST DAY | (Automatic Value)
10:30 | As Required |  | LOAD REJECTION TEST (YES / NO)
10:40 | As Required |  | FREQUENCY RESPONSE MODE (ON / OFF)
10:50 | 0 | IDS NAME HERE | RISK OF TRIP DURING TEST
11:00 | 2 |  | PURPOSE OF TEST
11:10 | 5 |  | PLEASE WRITE THE PURPOSE OF THE TEST HERE
11:20 | 2
11:30 | 0
11:40 | 2 |  | DESCRIPTION OF TEST
11:50 | 5 |  | PLEASE WRITE THE DESCRIPTION OF THE TEST HERE
12:00 | 5
12:10 | 5
12:20 | 5
12:30 | 5 |  | CONTACT NAME | MOBILE | ROLE
12:40 | 5
12:50 | 5
13:00 | 5
13:10 | 5
13:20 | 5
13:30 | 5
13:40 | 5
13:50 | 5
14:00 | 2
14:10 | 0
14:20 | As Required
14:30 | As Required
14:40 | As Required
14:50 | As Required
15:00 | As Required
15:10 | As Required
15:20 | As Required
15:30 | As Required
15:40 | As Required
15:50 | As Required
16:00 | As Required
16:10 | As Required
16:20 | As Required
16:30 | As Required
16:40 | As Required
16:50 | As Required
17:00 | As Required
17:10 | As Required
17:20 | As Required
17:30 | As Required
17:40 | As Required
17:50 | As Required
Profile Template located at http://www.eirgrid.com/media/DSUTestProfileTemplate.xlsx
Send to generator_testing@eirgrid.com for assessment 10 business days in advance of test.
Send to control@eirgrid.com with generator_testing@eirgrid.com on copy for approval 5 days in advance of test.
Test profiles shall be provided for DSU in aggregate with separate profiles for the individual demand sites.
IDS name has to be written at the time the test is scheduled to start.
Note on E6: PLEASE ENTER THE UNIT NAME AND EMS NAME