## Process
IMPORTANT - PLEASE READ
Commissioning Profiles Test Book
| Version Number | Date | Description of change
Submit a separate tab for each trading day, deleting additional Minor / Significant tabs as appropriate.
If 30 minutes resolution is not sufficient to show changes in output, 10 minute or 5 minute resolution may be required.
Detailed timeline and guidance for PN submission is on the following sheet DSU PN for Testing.
Minor Test
1. Testing of < 6 hours in duration or < than 3 times the Active Energy which would be produced by the Test Proposer’s DSU during 1 hour of operation at the DSU’s Registered Capacity; and < 500 MWh may be submitted as a Minor Test, subject to EirGrid approval.
2. This form must be submitted to neartime@eirgrid.com and balancingmarketoperations@eirgrid.com by 13:00, one working day before the test..
3. A Unit Under Test Flag must be submitted via the Market Particpant Interface.
Significant Test
1. Testing of ≥ 6 hours in duration or ≥ 3 times the active energy which would be produced during 1 hour of operations at the DSU's Registered Capacity or ≥ 500 MWh must be submitted as a Significant Test.
2. This form must be submitted to neartime@eirgrid.com at least 5 working days in advance and updates thereafter.
3. A Unit Under Test Flag must be submitted via the Market Particpant Interface.
Commissioning unit
1. Testing of a commissioning unit must be submitted as a Significant Test.
2. This form must be submitted to neartime@eirgrid.com and generator_testing@eirgrid.com at least 10 working days in advance and updates thereafter.
3. A Unit Under Test Flag must be submitted via the Market Partipant Interface.
Note: If a test proceeds over multiple days, each day have to have separate sheet with filled information.
Information on putting a unit under test in the market can be found in the following FAQ:
LINK word document

## DSU PN for Testing
DSU Testing PNs
Type of the test | Tested MW | Additional conditions | Test Profile | Market Test** | PNs with Test Flag | EDIL Used
Speed of response | < 4MW | if site does not have separate RTU | Y | N | Y | Y
| => 4MW | or if site has separate RTU | Y | N | Y | Y
Capacity 2 hours | < 4MW | if none of the sites does not have separate RTU | Y | Y | Y | Y
| => 4MW | or if any of the sites has separate RTU | Y | Y | Y | Y
Capacity 24 hours | < 4MW | if none of the sites does not have separate RTU | Y | Y | Y | Y
| => 4MW | or if any of the sites has separate RTU | Y | Y | Y | Y
System Services FR | < 4MW |  | Y | N | Y | Y
| => 4MW |  | Y | Y | Y | Y
System Services Ramping | < 4MW | if none of the sites does not have separate RTU | Y | N | Y | Y
| => 4MW | or if any of the sites has separate RTU | Y | Y | Y | Y
**DSU to advise if they wish to PN / This is their risk
1. Market Test > Market Test Flag > Normal EDIL DI
2. Non-Market Test > No Makret Test Flag > Normal EDIL
Test Process Steps
Timing (at latest) | Content
D - 10 days | DSU Requests Test Date
D - 10 days | EirGrid Testing notifies Neartime if significant load (requiring Market Test) will be tested.
D - 10 days | EirGrid updates EDIL ranges.
D - 10 days | EirGrid Confirms the Test Date
D - 10 days | DSU submits test procedure
D - 1 day | DSU submits test profile to Neartime for Minor Test (not requiring Market Test)
13:00 on D - 1 | Neartime rejects the test schedule
13:00 on D - 1 | DSU Updates MPI with PN (if applicable)
13:00 on D - 1 | DSU calls Dispatcher/Scheduler to notify about MPI update (if applicable)
T - 4 hours | Modification or Cancellation (if applicable)
T - 15 minutes | DSU calls Dispatcher/Scheduler with request for EDIL instruction
D + 1 | DSU submits test data
D + 1 | DSU submits scanned test procedure
D + 10 | DSU submits test procedure
Note on D3: McGuckin, John: - TBC if there is a lead time on this? - Neartime@eirgri
Note on F3: McGuckin, John: Terminology - T&SC

## Minor Day Profile (Test Date)
DSU Minor Test Consent Form
Time | MW | MVAr | Available for MW Dispatch | Available for Mvar Dispatch | Unit Under Test Flag in MPI | Comment | UNIT NAME
6:00 | As Required | As Required | Y | Y | N |  | REGISTERED CAPACITY
6:30 | As Required | As Required | Y | Y | N |  | TEST DATE
7:00 | As Required | As Required | Y | Y | N |  | TEST DAY | (Automatic Value)
7:30 | As Required | As Required | Y | Y | N |  | LOAD REJECTION TEST (YES / NO)
8:00 | As Required | As Required | Y | Y | N |  | FREQUENCY RESPONSE MODE (ON / OFF)
8:30 | As Required | As Required | Y | Y | N |  | RISK OF TRIP DURING TEST
9:00 | As Required | As Required | Y | Y | N |  | PURPOSE OF TEST
9:30 | As Required | As Required | Y | Y | N
10:00 | As Required | As Required | Y | Y | N
10:30 | As Required | As Required | Y | Y | N
11:00 | As Required | As Required | Y | Y | N |  | DESCRIPTION OF TEST
11:30 | As Required | As Required | Y | Y | N
12:00 | 50 | As Required | N | Y | Y
12:30 | 50 | As Required | N | Y | Y
13:00 | 70 | As Required | N | Y | Y
13:30 | 100 | 0 | N | N | Y | Frequency Response OFF | CONTACT NAME | MOBILE | ROLE
14:00 | 100 | 10 | N | N | Y | Frequency Response OFF
14:30 | 100 | -10 | N | N | Y | Frequency Response OFF
15:00 | 100 | 0 | N | N | Y | Frequency Response OFF
15:30 | 50 | As Required | N | Y | Y
16:00 | 20 | As Required | N | Y | Y
16:30 | 20 | As Required | N | Y | Y
17:00 | 0 | As Required | N | Y | Y
17:30 | 0 | As Required | N | Y | Y
18:00 | 0 | As Required | N | Y | Y
18:30 | As Required | As Required | Y | Y | N
19:00 | As Required | As Required | Y | Y | N
19:30 | As Required | As Required | Y | Y | N
20:00 | As Required | As Required | Y | Y | N
20:30 | As Required | As Required | Y | Y | N
21:00 | As Required | As Required | Y | Y | N
21:30 | As Required | As Required | Y | Y | N
22:00 | As Required | As Required | Y | Y | N
22:30 | As Required | As Required | Y | Y | N
23:00 | As Required | As Required | Y | Y | N
23:30 | As Required | As Required | Y | Y | N
24:00 | As Required | As Required | Y | Y | N
24:30 | As Required | As Required | Y | Y | N
25:00 | As Required | As Required | Y | Y | N
25:30 | As Required | As Required | Y | Y | N
26:00 | As Required | As Required | Y | Y | N
26:30 | As Required | As Required | Y | Y | N
27:00 | As Required | As Required | Y | Y | N
27:30 | As Required | As Required | Y | Y | N
28:00 | As Required | As Required | Y | Y | N
28:30 | As Required | As Required | Y | Y | N
29:00 | As Required | As Required | Y | Y | N
5:30 | As Required | As Required | Y | Y | N
Note on I6: PLEASE ENTER THE UNIT NAME AND EMS NAME

## Minor Day Profile (Test Date 2)
DSU Minor Test Consent Form
Time | MW | MVAr | Available for MW Dispatch | Available for Mvar Dispatch | Unit Under Test Flag in MPI | Comment | UNIT NAME
6:00 | As Required | As Required | Y | Y | N |  | REGISTERED CAPACITY
6:30 | As Required | As Required | Y | Y | N |  | TEST DATE
7:00 | As Required | As Required | Y | Y | N |  | TEST DAY | (Automatic Value)
7:30 | As Required | As Required | Y | Y | N |  | LOAD REJECTION TEST (YES / NO)
8:00 | As Required | As Required | Y | Y | N |  | FREQUENCY RESPONSE MODE (ON / OFF)
8:30 | As Required | As Required | Y | Y | N |  | RISK OF TRIP DURING TEST
9:00 | As Required | As Required | Y | Y | N |  | PURPOSE OF TEST
9:30 | As Required | As Required | Y | Y | N
10:00 | As Required | As Required | Y | Y | N
10:30 | As Required | As Required | Y | Y | N
11:00 | As Required | As Required | Y | Y | N |  | DESCRIPTION OF TEST
11:30 | As Required | As Required | Y | Y | N
12:00 | 50 | As Required | N | Y | Y
12:30 | 50 | As Required | N | Y | Y
13:00 | 70 | As Required | N | Y | Y
13:30 | 100 | 0 | N | N | Y | Frequency Response OFF | CONTACT NAME | MOBILE | ROLE
14:00 | 100 | 10 | N | N | Y | Frequency Response OFF
14:30 | 100 | -10 | N | N | Y | Frequency Response OFF
15:00 | 100 | 0 | N | N | Y | Frequency Response OFF
15:30 | 50 | As Required | N | Y | Y
16:00 | 20 | As Required | N | Y | Y
16:30 | 20 | As Required | N | Y | Y
17:00 | 0 | As Required | N | Y | Y
17:30 | 0 | As Required | N | Y | Y
18:00 | 0 | As Required | N | Y | Y
18:30 | As Required | As Required | Y | Y | N
19:00 | As Required | As Required | Y | Y | N
19:30 | As Required | As Required | Y | Y | N
20:00 | As Required | As Required | Y | Y | N
20:30 | As Required | As Required | Y | Y | N
21:00 | As Required | As Required | Y | Y | N
21:30 | As Required | As Required | Y | Y | N
22:00 | As Required | As Required | Y | Y | N
22:30 | As Required | As Required | Y | Y | N
23:00 | As Required | As Required | Y | Y | N
23:30 | As Required | As Required | Y | Y | N
24:00 | As Required | As Required | Y | Y | N
24:30 | As Required | As Required | Y | Y | N
25:00 | As Required | As Required | Y | Y | N
25:30 | As Required | As Required | Y | Y | N
26:00 | As Required | As Required | Y | Y | N
26:30 | As Required | As Required | Y | Y | N
27:00 | As Required | As Required | Y | Y | N
27:30 | As Required | As Required | Y | Y | N
28:00 | As Required | As Required | Y | Y | N
28:30 | As Required | As Required | Y | Y | N
29:00 | As Required | As Required | Y | Y | N
5:30 | As Required | As Required | Y | Y | N
Note on I6: PLEASE ENTER THE UNIT NAME AND EMS NAME

## Significant Profile (Test Date)
DSU Significant Test Consent Form
Time | MW | MVAr | Available for MW Dispatch | Available for Mvar Dispatch | Unit Under Test Flag in MPI | Comment | UNIT NAME
6:00 | 0 | 0 | N | N | N |  | REGISTERED CAPACITY
6:30 | 0 | 0 | N | N | N |  | TEST DATE
7:00 | 0 | 0 | N | N | N |  | TEST DAY | (Automatic Value)
7:30 | 0 | 0 | N | N | N |  | LOAD REJECTION TEST (YES / NO)
8:00 | 0 | 0 | N | N | N |  | FREQUENCY RESPONSE MODE (ON / OFF)
8:30 | 0 | 0 | N | N | N |  | RISK OF TRIP DURING TEST
9:00 | 0 | 0 | N | N | N |  | PURPOSE OF TEST
9:30 | 0 | 0 | N | N | N
10:00 | 50 | As Required | Y | Y | N
10:30 | 50 | As Required | Y | Y | N
11:00 | 50 | As Required | Y | Y | N |  | DESCRIPTION OF TEST
11:30 | 50 | As Required | Y | Y | N
12:00 | 50 | As Required | Y | Y | Y
12:30 | 50 | As Required | Y | Y | Y
13:00 | 50 | As Required | Y | Y | Y
13:30 | 70 | As Required | Y | Y | Y |  | CONTACT NAME | MOBILE | ROLE
14:00 | 100 | As Required | Y | Y | Y | Frequency Response OFF
14:30 | 100 | As Required | Y | Y | Y | Frequency Response OFF
15:00 | 100 | As Required | Y | Y | Y | Frequency Response OFF
15:30 | 100 | As Required | Y | Y | Y | Frequency Response OFF
16:00 | 100 | 0 | N | N | Y | Frequency Response OFF
16:30 | 100 | 0 | N | N | Y | Frequency Response OFF
17:00 | 100 | 0 | N | N | Y | Frequency Response OFF
17:30 | 100 | 0 | N | N | Y | Frequency Response OFF
18:00 | 100 | 0 | N | N | Y | Frequency Response OFF
18:30 | 100 | 0 | N | N | N | Frequency Response OFF
19:00 | 100 | 0 | N | N | N | Frequency Response OFF
19:30 | 50 | 0 | N | N | N
20:00 | 20 | 0 | N | N | N
20:30 | 20 | 0 | N | N | N
21:00 | 20 | 0 | N | N | N
21:30 | 0 | 0 | N | N | N
22:00 | 0 | 0 | N | N | N
22:30 | 0 | 0 | N | N | N
23:00 | 0 | 0 | N | N | N
23:30 | 0 | 0 | N | N | N
24:00 | 0 | 0 | N | N | N
24:30 | 0 | 0 | N | N | N
25:00 | 0 | 0 | N | N | N
25:30 | 0 | 0 | N | N | N
26:00 | 0 | 0 | N | N | N
26:30 | 0 | 0 | N | N | N
27:00 | 0 | 0 | N | N | N
27:30 | 0 | 0 | N | N | N
28:00 | 0 | 0 | N | N | N
28:30 | 0 | 0 | N | N | N
29:00 | 0 | 0 | N | N | N
5:30 | 0 | 0 | N | N | N
Note on I6: PLEASE ENTER THE UNIT NAME AND EMS NAME

## Significant Profile(Test Date2)
DSU Full Day Test Consent Form
Time | MW | MVAr | Available for MW Dispatch | Available for Mvar Dispatch | Unit Under Test Flag in MPI | Comment | UNIT NAME
6:00 | 0 | 0 | N | N | N |  | REGISTERED CAPACITY
6:30 | 0 | 0 | N | N | N |  | TEST DATE
7:00 | 0 | 0 | N | N | N |  | TEST DAY | (Automatic Value)
7:30 | 0 | 0 | N | N | N |  | LOAD REJECTION TEST (YES / NO)
8:00 | 0 | 0 | N | N | N |  | FREQUENCY RESPONSE MODE (ON / OFF)
8:30 | 0 | 0 | N | N | N |  | RISK OF TRIP DURING TEST
9:00 | 0 | 0 | N | N | N |  | PURPOSE OF TEST
9:30 | 0 | 0 | N | N | N
10:00 | 50 | As Required | Y | Y | N
10:30 | 50 | As Required | Y | Y | N
11:00 | 50 | As Required | Y | Y | N |  | DESCRIPTION OF TEST
11:30 | 50 | As Required | Y | Y | N
12:00 | 50 | As Required | Y | Y | Y
12:30 | 50 | As Required | Y | Y | Y
13:00 | 50 | As Required | Y | Y | Y
13:30 | 70 | As Required | Y | Y | Y |  | CONTACT NAME | MOBILE | ROLE
14:00 | 100 | As Required | Y | Y | Y | Frequency Response OFF
14:30 | 100 | As Required | Y | Y | Y | Frequency Response OFF
15:00 | 100 | As Required | Y | Y | Y | Frequency Response OFF
15:30 | 100 | As Required | Y | Y | Y | Frequency Response OFF
16:00 | 100 | 0 | N | N | Y | Frequency Response OFF
16:30 | 100 | 0 | N | N | Y | Frequency Response OFF
17:00 | 100 | 0 | N | N | Y | Frequency Response OFF
17:30 | 100 | 0 | N | N | Y | Frequency Response OFF
18:00 | 100 | 0 | N | N | Y | Frequency Response OFF
18:30 | 100 | 0 | N | N | N | Frequency Response OFF
19:00 | 100 | 0 | N | N | N | Frequency Response OFF
19:30 | 50 | 0 | N | N | N
20:00 | 20 | 0 | N | N | N
20:30 | 20 | 0 | N | N | N
21:00 | 20 | 0 | N | N | N
21:30 | 0 | 0 | N | N | N
22:00 | 0 | 0 | N | N | N
22:30 | 0 | 0 | N | N | N
23:00 | 0 | 0 | N | N | N
23:30 | 0 | 0 | N | N | N
24:00 | 0 | 0 | N | N | N
24:30 | 0 | 0 | N | N | N
25:00 | 0 | 0 | N | N | N
25:30 | 0 | 0 | N | N | N
26:00 | 0 | 0 | N | N | N
26:30 | 0 | 0 | N | N | N
27:00 | 0 | 0 | N | N | N
27:30 | 0 | 0 | N | N | N
28:00 | 0 | 0 | N | N | N
28:30 | 0 | 0 | N | N | N
29:00 | 0 | 0 | N | N | N
5:30 | 0 | 0 | N | N | N
Note on I6: PLEASE ENTER THE UNIT NAME AND EMS NAME