## PPB
PPB DS3 System Services Agreement Consultation Comments
Section/Schedule | Section/Clause | Sub-section/ Sub-clause | Comment | TSO Proposed Response | Technical/Legal
1 | Definitions and Interpretation | Recital "C" | Recital C - Not clear why this references Phase 1 and Phase 2, should that just not be defined as relevant at the time the agreement is being executed? | Agree- Recital C now reads "(C) The Service Provider is now entering into this Agreement in order to provide the Company with the Relevant DS3 System Services from the Providing Unit with effect from the date of DS3 System Services Regulated Arrangements Go-Live." | Legal
1 | Definitions and Interpretation | 1.4 | Distribution Code does not take precedence for transmission connected generators. | The Distribution Code reference is only appplicable to distribution connected providing units denoted by "(as the case may be)" therefore the TSOs believe that the existing drafting is appropriate. | Legal
2 | Commencement and Duration of Agreement | 2.1.1 | Reference to the term being not less than 6 years. However, it then provides for termination with 1 years notice in which case the term could be less than 6 years. Also there is reference to 5 year terms for the Capped procurement which would not seem to fit with the current drafting, this needs clarity. | In accordance with SEM decision SEM-17-080, the term of the volume uncapped contract is set at 5 years. The relevant clause now reads "this Agreement shall commence on the date of DS3 System Services Regulated Arrangements Go-Live and continue in full force and effect until the 30th of April 2023 unless terminated in accordance with Clause 8 (Termination)." The TSOs believe that the existing drafting is appropriate to convey that the 5 year period is subject to termination with notice of 1 year as and when termination is required. As noted in the consultation paper the drafting reflects volume uncapped contracts only. The volume capped contracts will be consulted on separately. | Legal
2 | Commencement and Duration of Agreement | 2.5 | Clause 2.5 has an "s" on the end of Schedules 2 which is not required. This Contract loosely uses the term available, this need clarity as there is Availability as defined in the Grid Code, Declared Availability and now Forecast Availability coming into the Protocol, all are slightly different so it might be better to use volume in this context to help define it. | Agree- "s" has been deleted. Clause 2.5 has been amended for clarity. | Legal
3 | Provision and Purchase of DS3 System Services | 3.3.1 | Grid Code Characteristics Notice is not defined in the NI GC | Additional Grid Code Characteristics Notice is defined in the Grid Code as "A notice to be submitted to the TSO pursuant to SDC1.4.4.2 relating to additional technical data." Please see Grid Code for further details. | Legal
3 | Provision and Purchase of DS3 System Services | 3.3.1 | The last sentence refers to 3.3.3 instead of 3.3.1. | Agree- This has been amended to refer to 3.3.1 | Legal
3 | Provision and Purchase of DS3 System Services | 3.4, 3.5 | Clauses 3.4 and 3.5 have incorrect sub numbering | Agree- This has been amended to correspond. | Legal
3 | Provision and Purchase of DS3 System Services | 3.7.1 | Outage Planning should be in accordance with Grid Code, stating that it should be Good Industry Practice introduces a new term which only brings confusion on what is required, the Grid Code is the document all generators in Ireland operate under. | This clause has not changed from the existing EirGrid and SONI standard interim arrangement and was also previously in the HAS agreements. In addition, as for DS3 System Services some of the providers/services will not be subject to the Grid Code, the TSOs believe that "Good Industry Practice" is appropriate. | Legal
4 | Payment |  | The payments for this service are too late, the original Northern Ireland HASA payment terms should be adopted for the Enduring Aeeangements. | The TSOs believe that the existing payment structure is appropriate. Indicative statements and a self billing facility were introduced as part of the interim arrangements with the new billing structure. | Legal
5 | Monitoring and Metering
6 | Assignment
7 | Variations
8 | Termination | 8.1.1 | Clause 8.1.1 states one or more products can be cancelled, this is possible in a Framework Agreement but not in an Agreement like this | Clause 8.1.1 is similar to the termination clause in both the Interim Arrangements and the preceding Harmonised Ancillary Services contract. The TSOs believe it is appropriate for the volume uncapped contract and aligns with SEM-17-080. | Legal
8 | Termination | 8.2 | Clause 8.2 intro introduces notice of event but it would be better worded as follows by notice in writing to the Service Provider terminate this Agreement in its entirety or, where the event of default relates solely to one or more relevant DS3 System Services solely in relation to the Relevant DS3 System Service(s) to which the notice of the event of default relates, forthwith upon. | The TSOs believe that the existing drafting provides sufficient clarity. As noted in the consultation paper, this drafting relates to volume uncapped contracts. A consultation will be opened in due course for the volume capped procurement process. | Legal
8 | Termination | 8.2(xii) | Missing wording -As this is a termination event, this must be provided to enable proper consideration and comment | This clause has been removed from the contract. | Legal
9 | Effect of Termination
10 | Force Majeure
11 | Limitation of Liability
12 | Confidentiality
13 | Additional Costs
14 | Dispute Resolution
15 | Miscellaneous | 15.2 | This similarly has both commencement dates in the agreement but as the agreement will be executed before one or the other then the commencement date should be as relevant at that time. The "of" should be "from" in the added drafting. | The TSOs believes that the existing drafting "as appropriate" provides sufficient clarity. Agree- "of" replaced with "from" | Legal
16 | Governing Law and Jurisdictions | 16.2 | This should be exclusive jurisdiction. | The TSOs believe that it is appropriate that the exisiting clause allows for jurisdiction for litigation or arbitration in a third country if the parties agree. | Legal
SCHEDULE 1 | Definitions |  | Declared MinGen - how can the company stipulate this? Event is used in the definitions of POR,SOR etc, these responses are only related to Frequency and so there should be a separate definition for Frequency Event to be used in these sections. SSRP MinGen is different to Declared MinGen and is stated that a process exists for nofifying the TSO about this, this process is not defined and in reality the settlement systems are using a normal declaration of MinGen to carry out the calculation incorrectly, this definition needs explained better. Lots of definitions are omitted due to the performance assessment being included in the Protocol document or not detailed at all in either. Definitions using a reference to the Eirgrid Grid Code is not acceptable for SONI contracts. | Declared Mingen definition amended to include "in such other manner." Additional definitions and process description regarding performance assessment have been included in the protocol document. References to the EirGrid Grid Code have been replaced with full definitions. | Legal
SCHEDULE 2 | Operating Reserves
Section 1 Operating Reserve Services
| Section 2 Minimum Technical Requirements | 2 | Pre-incident output needs defined, Events need to changed to Frequency Transient to keep the drafting consistent. | The use of "pre-incident" is consistent with Grid Code terminology in defining reserve services. No separate definition is provided for "pre-incident" in the Grid Code. The TSOs believe that the use of Event is technically correct. | Legal
| Section 3 Primary Operating Reserve (POR) - Available Volume, Payment and Performance Assessment | 3, 3.1(a) 3.1(b), 3.3 | 3(i) - Add the words, over the Trading Period, after Providing Unit 3.1(a) - for the Time Weighted Average MW Output, this is the metered volume, could a simplier definition be used here 3.1 (b) - It would be helpful to add the wording in the trading period to this definition. 3.3 - Add frequency before the word Event also POR Locational Scalar is defined in Schedule 9 but it seems to be missing. | The definition of Declared contains a reference to Trading Period. The TSO believes the draft in relation to performance assesment is appropriate. Agree - POR Locational Scalar has been added to Schedule 9. | Technical
| Section 4 Secondary Operating Reserve (SOR) - Available Volume, Payment and Performance Assessment | 4.1 (b) 4.2 (c ) | as above for 3.1(a) and 3.1(b) | The definition of Declared contains a reference to Trading Period. The TSO believes the draft in relation to performance assesment is appropriate. Agree - POR Locational Scalar has been added to Schedule 9. | Technical
| Section 5 Tertiary 1 Operating Reserve (TOR1) - Available Volume, Payment and Performance Assessment | 5.1 (b) 5.2 (c ) | as above for 3.1(a) and 3.1(b) | The definition of Declared contains a reference to Trading Period. The TSO believes the draft in relation to performance assesment is appropriate. Agree - POR Locational Scalar has been added to Schedule 9. | Technical
| Section 6 Tertiary 2 Operating Reserve (TOR2) - Available Volume, Payment and Performance Assessment | 6.1 (b) 6.2 (c ) | as above for 3.1(a) and 3.1(b) | The definition of Declared contains a reference to Trading Period. The TSO believes the draft in relation to performance assesment is appropriate. Agree - POR Locational Scalar has been added to Schedule 9. | Technical
| Section 7 Replacement Reserve - Available Volume, Payment and Performance Assessment | 7.1(b), 7.2.1 | 7.1(b) - should this be lowest Declared RR 7.2.1 - duration of Trading Period should read Trading Period Duration | This is not necessarily a full trading period, therefore it is described as "duration of Trading Period where the Providing Unit is Synchronised or connected to the Power System". | Technical
SCHEDULE 3 | Steady-State Reactive Power
Section 1 Provision of Service
Section 2 Minimum Technical Requirements
| Section 3 Steady-State Reactive Power - Available Volume, Payment and Performance Assessment | 3.1 3.2 | In accordance with a process - this needs detailed. SSRP MinGen needs declared separately from MinGen in the settlement systems else declarations of availability allow the calculation to uncorrectly inflate payments. SSRP Locational Scalar doesn't appear in Schedule 9. | The TSOs have introduced capping in the settlement system to prevent any incorrect payment calculation. Locational Scalar has been added to Schedule 9. | Technical
SCHEDULE 4 | Other Services
SCHEDULE 4 - Part A | Section 1 Definition of Service
Section 2 Minimum Technical Requirements
| Section 3 Synchronous Inertial Response - Available Volume and Payment | 3.2 | SIR Locational Scalar is missing from Schedule 9. | Locational Scalar has been added to Schedule 9. | Technical
SCHEDULE 4 - Part B | Section 1 Definition of Service
Section 2 Minimum Technical Requirements
| Section 3 Fast Frequency Response - Available Volume, Payment and Performance Assessment | 3.2 | FFR Locational Scalar is missing from Schedule 9. | Locational Scalar has been added to Schedule 9. | Technical
SCHEDULE 4 - Part C | Section 1 Definition of Service
Section 2 Minimum Technical Requirements
| Section 3 Fast Post-Fault Active Power Recovery - Available Volume, Payment and Performance Assessment | 3.2 | FPFAPR Locational Scalar is missing from Schedule 9. | Agree. Has been included in Schedule 9. | Technical
SCHEDULE 4 - Part D | Section 1 Definition of Service |  | The definition should be made clearer as the MW reduction can be confused with deloading provided with a generator or demand reduction as provided with a demand side unit. | MW Reduction is defined as a reduction in Demand as opposed to generation, where Demand is as defined in the Grid Code. | Technical
Section 2 Minimum Technical Requirements
| Section 3 Ramping Margin 1 (RM1) – Available Volume, Payment and Performance Assessment | 3, 3.1, 3.2 | ..the increased MW output and/or MW Reduction.., this should be defined better as it implies that if a generating unit is at full load it will still get paid as it can decrease its MW in line with its ramp rates. Would read better to say over one hour rather than for one hour. RM1 Locational Scalar is missing from Schedule 9. | MW Reduction is defined as a reduction in Demand as opposed to generation, where Demand is as defined in the Grid Code. The TSOs believe that the definition has sufficient clarity. Agree. Has been included in Schedule 9. | Technical
| Section 4 Ramping Margin 3 (RM3) – Available Volume, Payment and Performance Assessment | 4, 4.1 | ..the increased MW output and/or MW Reduction.., this should be defined better as it implies that if a generating unit is at full load it will still get paid as it can decrease its MW in line with its ramp rates. Would read better to say over one hour rather than for one hour. RM3 Locational Scalar is missing from Schedule 9. | MW Reduction is defined as a reduction in Demand as opposed to generation, where Demand is as defined in the Grid Code. The TSOs believe that the definition has sufficient clarity. Agree. Has been included in Schedule 9. | Technical
| Section 5 Ramping Margin 8 (RM8) - Available Volume, Payment and Performance Assessment | 5, 5.1 | ..the increased MW output and/or MW Reduction.., this should be defined better as it implies that if a generating unit is at full load it will still get paid as it can decrease its MW in line with its ramp rates. Would read better to say over one hour rather than for one hour. RM8 Locational Scalar is missing from Schedule 9. | MW Reduction is defined as a reduction in Demand as opposed to generation, where Demand is as defined in the Grid Code. The TSOs believe that the definition has sufficient clarity. Agree. Has been included in Schedule 9. | Technical
SCHEDULE 4 - Part E | Section 1 Definition of Service
Section 2 Minimum Technical Requirements
Section 3 Dynamic Reactive Response (DRR) - Available Volume, Payment and Performance Assessment
SCHEDULE 5 | Billing and Payment Plan | 1.1(i) | Quantity should be Volume, in the absence of information to prepare that Statement the TSO will make estimates where information is not available - this should only be contemplated with participant consent. | Agree- Amended to "volume." | Technical
SCHEDULE 6 | Dispute Resolution Procedure
SCHEDULE 7 | Address Details and Billing Address
SCHEDULE 8 | Banking Details of the Service Provider
SCHEDULE 9 | Providing Unit and Operating Parameters